| Requestor name |  | Supervisor name |  |
| --- | --- | --- | --- |
| Requestor email |  | Supervisor email |  |
| Department |  | Requestor status (MTech/PhD/PostDoc/staff) |  |
| Request submission date |  | Expected delivery date |  |

Process-Request to be executed by:

☐User*(1)                                          ☐Facility Staff (1)

*The Process request shall be executed by the User independently, in consideration of the approval from the Facility-Staff for the changes in the recipe parameters.

(1) The tool/wafer/consumable usage related to this process request shall be borne by the requestor.

Mandatory Pre-requisites for a user to execute the Process Request independently:

- The User should have ‘Any time access’ on FOM for the Tool and should have performed atleast 5-slots independently.

- The user should have in-depth knowledge of both the equipment and the scientific principles behind their operation. Thorough knowledge on various operational modes (standard mode and Advanced mode of operation) and ability to analyse and interpret data correctly.

- The user is capable of using the tool without any assistance from the tool owner. But they are not authorized to make any modifications/changes either in the software/hardware without the consent from the Tool owner.

Note: If the process is developed by NNFC-staff, then the Process IP belongs to NNFC.

Process request description: (briefly explain your requirement):

| Specifications (if you are not clear about some specifications, please contact the Tool Owner) | *User request | *User remark | **NNfC Acceptance (Y/N) |
| --- | --- | --- | --- |
| Inline Characterization Tool (Ellipsometer/Dektak/Four-point probe/MOS Ultra Scan/MDPmap Lifetime tool/SEM/……….) |  |  |  |
| Material to be measured |  |  |  |
| Material structure (Crystalline/Poly-crystalline/Amorphous) |  |  |  |
| Deposition tool used |  |  |  |
| Expected parameters (Thickness/Refractive Index/Resistvity/Curvature/Stress/Lifetime/………) |  |  |  |
| Substrate details (Substrate and stack details) |  |  |  |
| Sample Size (6inch/4inch/3inch/2inch/Arbitrary sample size) |  |  |  |

Process references, if any: (If you have already done a literature survey and would like to replicate a similar experiment or if it provides an insight into your specifications, please provide the link here).

*Note to Requestor: Please fill out all the relevant columns in the below table. If you do not have a particular specification, please enter “NA” (not applicable).

**Note to NNfC staff: The NNfC remark column should be filled out by the relevant FT, working on the request. It should reflect whether you can meet the User requirement or not (“YES” or “NO”).

NNFC staff use (All columns should be filled up, appropriately)

| Request attended by (with email) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technology manager (with email) |  |  |  |  |
| Process request received on |  |  |  |  |
| Request feasible | Yes/No | Tracking no. |  |  |
| If No, please give detailed response |  |  |  |  |
| Tool |  |  |  |  |
| Request start date |  |  |  |  |
| Request delivery date | Proposed |  | Revision 1 | Revision 2 |
| Request Closure |  |  |  |  |
| Are the user spec/requirements met? | Yes/No | If YES, provide the report with data and clear conclusion. |  |  |
|  |  | If NO, please explain why it could not be met. |  |  |
| Note: The closure report should adhere to the attached format. Else, it will be rejected. |  |  |  |  |
| Request closure date |  |  |  |  |
| Closure report location | NNFC Repository(do not delete) |  |  |  |

CLOSURE REPORT(please use more pages, if required)

- Experimental Details:

- Comparison table wrt user requirements:

- Data Analysis:

- Conclusion:

- Acknowledgement:

- Acceptance:

| Name | Accepted(Yes or No) | Date of acceptance |
| --- | --- | --- |
| Facility Technologist |  |  |
| Technology Manager |  |  |
| PR NNfC team |  |  |